Data Collection Worksheet

Please Note: The Data Collection Worksheet (DCW) is a tool to aid integration of a PhenX protocol into a study. The PhenX DCW is not designed to be a data collection instrument. Investigators will need to decide the best way to collect data for the PhenX protocol in their study. Variables captured in the DCW, along with variable names and unique PhenX variable identifiers, are included in the PhenX Data Dictionary (DD) files. Collect saliva by having subjects expectorate into a vial while stimulating saliva flow with one of the three methods employed in previous studies: (a) sucking on a lemon candy, (b) dissolving a sugar cube in the mouth, or (c) chewing on parafilm. Approximately 2-3 minutes is required to collect each saliva sample.

Concentrations of cotinine determined by capillary gas

chromatography with nitrogen ± phosphorus detection, 11 using 1-methyl-5-(2-pyridyl)-pyrrolidin- 2-one (ª ortho-cotinineº) as the internal standard.

Protocol source: https://www.phenxtoolkit.org/protocols/view/91702